## Electrical+Optical
C-frame | T1-Q02-UX |  |  | Optical fibre (attenuation) | [5 empty] | HV | HV | Low voltage
[7 empty] | Remeasured | 12.10.´06 |  | Cabel con. | 1800V | 7V/4,1 A | 7V/2,1 A
N | Layer | Quarter | Module | Colour | dBm | dB | dBm | dB |  |  | Imax , nA | "+6V" | "-6V"
1 | L0(X) | 2 (U) | M153 | blue | -32.33 | -5.9 | -26.7 | -5.7 |  | OK | 0.3 | 6.28 | -6.65 | -5.5 | -27.16
2 | L0(X) | 2 (U) | M011 | orange | -33.56 | -7.16 | -29.8 | -8.7 | 26,89/5,83 | OK | 0.7 | 6.29 | -6.65 | -5.64 | -27.09 | ,,,,
3 | L0(X) | 2 (U) | M006 | green | -30.54 | -4.14 | -24.3 | -3.3 |  | OK | 0.4 | 6.26 | -6.65 | -4.49 | -25.94
4 | L0(X) | 2 (U) | M008 | brown | -29.55 | -3.15 | -24 | -3 |  | OK | 0.5 | 6.28 | -6.66 | -4.1 | -25.54
5 | L0(X) | 2 (U) | M009 | grey | -28.18 | -1.76 | -24.6 | -3.6 |  | OK | 0.3 | 6.29 | -6.65 | -3.11 | -24.56
6 | L0(X) | 2 (U) | M010 | white | -28.59 | -2.18 | -29.9 | -8.9 |  | OK | 0.6 | 6.28 | -6.66 | -4.29 | -25.74
7 | L0(X) | 2 (U) | M154 | red | -27.46 | -1.06 | -24.2 | -3.2 |  | OK | 0.2 | 6.28 | -6.65 | -4.87 | -26.32
8 | L0(X) | 2 (U) | WAR004 | black2 | -26.78 | -0.38 | -24.9 | -3.9 |  | OK | 0.6 | 6.28 | -6.65 | -4.57 | -26
9 | L0(X) | 2 (U) | WAR089 | yellow | -29.05 | -2.65 | -24.5 | -3.5 |  | OK | 0.3 | 6.3 | -6.65 | -3.32 | -24.76
|  |  |  | max | -26.78 | -0.38 | -24 | -3 |  |  | 0.2 | 6.3 | -6.65 | -3.11 | -24.56
|  |  |  | min | -33.56 | -7.16 | -29.9 | -8.9 |  |  | 0.7 | 6.26 | -6.66 | -5.64 | -27.16
-6H<-->-6R
1 | L0(X) | 0 (L) | M153 | blue | -25.15 | 1.26 |  |  |  | OK | 0.4 | 6.18 | -6.64 | -3.76 | -25.21
2 | L0(X) | 0 (L) | M011 | orange | -25.89 | 0.52 |  |  |  | OK | 0.5 | 6.26 | -6.64 | -4.58 | -26.02
3 | L0(X) | 0 (L) | M006 | green | -23.82 | 2.58 |  |  |  | OK | 0.4 | 6.29 | -6.63 | -3.93 | -25.39
4 | L0(X) | 0 (L) | M008 | brown | -26.18 | 0.22 |  |  |  | OK | 0.4 | 6.29 | -6.65 | -3.73 | -25.17
5 | L0(X) | 0 (L) | M009 | grey | -25.62 | 0.78 |  |  |  | OK | 0.3 | 6.29 | -6.64 | -3.84 | -25.29
6 | L0(X) | 0 (L) | M010 | white | -24.84 | 1.56 |  |  |  | OK | 0.4 | 6.25 | -6.64 | -3.06 | -24.51
7 | L0(X) | 0 (L) | M154 | red | -24.86 | 1.55 |  |  |  | OK | 0.2 | 6.24 | -6.64 | -3.11 | -24.55
8 | L0(X) | 0 (L) | WAR045 | black2 | -25.28 | 1.13 |  |  |  | OK | 0.4 | 6.28 | -6.64 | -4.15 | -25.61
9 | L0(X) | 0 (L) | WAR105 | yellow | -25.08 | 1.33 |  |  |  | OK | 0.4 | 6.29 | -6.64 | -3.45 | -24.9
|  |  |  | max | -26.18 | 0.22 | 0 | 0 |  |  | 0.2 | 6.18 | -6.65 | -3.06 | -24.51
|  |  |  | min | -23.82 | 2.58 | 0 | 0 |  |  | 0.5 | 6.29 | -6.63 | -4.58 | -26.02
1 | L1(U) | 2 (U) | M004 | blue | -25.79 | 0.64 |  |  |  | OK | 0.2 | 6.27 | -6.65 | -3.58 | -25.03
2 | L1(U) | 2 (U) | M155 | orange | -26.32 | 0.09 |  |  |  | OK | 0.5 | 6.27 | -6.65 | -4.06 | -25.51
3 | L1(U) | 2 (U) | M012 | green | -24.83 | 1.57 |  |  |  | OK | 0.2 | 6.27 | -6.64 | -5.22 | -26.66
4 | L1(U) | 2 (U) | M013 | brown | -25.77 | 0.67 |  |  |  | FE-4-P1 | 0.8 | 6.27 | -6.65 | -3.21 | -24.66
5 | L1(U) | 2 (U) | M014 | grey | -23.77 | 2.64 |  |  |  | OK | 0.2 | 6.24 | -6.63 | -4.43 | -25.88
6 | L1(U) | 2 (U) | M159 | white | -25.92 | 0.49 |  |  |  | OK | 0.3 | 6.28 | -6.65 | -4.23 | -25.68
7 | L1(U) | 2 (U) | M016 | red | -24.6 | 1.81 |  |  |  | OK | 0.2 | 6.26 | -6.65 | -4.96 | -26.41
8 | L1(U) | 2 (U) | WAR005 | black2 | -25.18 | 1.22 |  |  |  | OK | 0.3 | 6.27 | -6.65 | -3.85 | -25.3
9 | L1(U) | 2 (U) | WAR091 | yellow | -25.07 | 1.34 |  |  |  | OK | 0.2 | 6.26 | -6.65 | -4 | -25.45
|  |  |  | max | -26.32 | 0.09 | 0 | 0 |  |  | 0.2 | 6.24 | -6.65 | -3.21 | -24.66
|  |  |  | min | -23.77 | 2.64 | 0 | 0 |  |  | 0.8 | 6.28 | -6.63 | -5.22 | -26.66
-6H<-->-6R
1 | L1(U) | 0 (L) | M004 | blue | -26.4 | 0.01 |  |  |  | OK | 0.3 | 6.27 | -6.64 | -3.25 | -24.7
2 | L1(U) | 0 (L) | M155 | orange | -26.62 | -0.22 |  |  |  | OK | 0.5 | 6.29 | -6.64 | -2.56 | -24.01
3 | L1(U) | 0 (L) | M012 | green | -26.66 | -0.26 |  |  |  | OK | 0.3 | 6.29 | -6.64 | -3.61 | -25.06
4 | L1(U) | 0 (L) | M013 | brown | -24.59 | 1.85 |  |  |  | OK | 0.4 | 6.29 | -6.64 | -3.31 | -24.75
5 | L1(U) | 0 (L) | M014 | grey | -25.03 | 1.31 |  |  |  | OK | 0.2 | 6.25 | -6.64 | -3 | -24.44
6 | L1(U) | 0 (L) | M159 | white | -24.02 | 2.39 |  |  |  | OK | 0.4 | 6.29 | -6.64 | -4.67 | -26.12
7 | L1(U) | 0 (L) | M016 | red | -23.99 | 2.43 |  |  |  | OK | 0.2 | 6.28 | -6.64 | -3.46 | -24.9
8 | L1(U) | 0 (L) | WAR046 | black2 | -25.75 | 0.65 |  |  |  | OK | 0.3 | 6.29 | -6.64 | -4.58 | -26.04
9 | L1(U) | 0 (L) | WAR107 | yellow | -25.13 | 1.27 |  |  |  | FE-9-P2 | 0.2 | 6.29 | -6.62 | -3.06 | -24.5
|  |  |  | max | -26.66 | -0.26 | 0 | 0 |  |  | 0.2 | 6.25 | -6.64 | -2.56 | -24.01
|  |  |  | min | -23.99 | 2.43 | 0 | 0 |  |  | 0.5 | 6.29 | -6.62 | -4.67 | -26.12
Note on D5: Iuri Bagaturia: M004 <----> M011
Note on D17: Iuri Bagaturia: M004 <----> M011
Note on K31: Iuri Bagaturia: no conection.
Note on K48: Iuri Bagaturia: no conection.
Note on L31: Iuri Bagaturia: 1800 V --> 1800 V ???
Note on L48: Iuri Bagaturia: 1800 V --> 1500 V

## GasTightness
[11 empty] | Layer > | L0(X) | [8 empty] | L1(U) | [29 empty] | Layer > | L0(X) | [8 empty] | L1(U) | [32 empty] | Layer > | L0(X) | [8 empty] | L1(U)
Layer > | L0(X) | L0(X) | L0(X) | L0(X) | L1(U) | L1(U) | L1(U) | L1(U) |  |  | Nmeas. > | 1 | 7 | 3 | 6 | 5 | 6 | 7 | 9 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 9 | 8 | [21 empty] | Nmeas. > | 1 | 7 | 3 | 6 | 5 | 6 | 7 | 9 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | [24 empty] | Nmeas. > | 1 | 7 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 5.4 | 9
Tube > | F-Low | S-Low | F-Up | S-Up | F-Low | S-Low | F-Up | S-Up |  |  | Time | Pressure , mb | [19 empty] | dP/dt , mb/sec | [18 empty] | Time | Pressure , mb | [19 empty] | dP/dt , mb/sec | [21 empty] | Time | Pressure , mb | [19 empty] | dP/dt , mb/sec
Time, sec | P , mb | P , mb | P , mb | P , mb | P , mb | P , mb | P , mb | P , mb |  | min | sec | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107 |  |  | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107 | min | sec | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107 |  |  | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107 |  |  |  |  | sec | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107 |  |  | M153 | M011 | M006 | M008 | M009 | M010 | M154 | war004/045 | war089/105 | M004 | M155 | M012 | M013 | M014 | M159 | M016 | war005/046 | war091/107
0 | 10.6 | 9.3 | 10.4 | 10.5 | 9.6 | 11.8 | 11.5 | 9.9 | 10.2 |  | 0 | 5.6 | 5.4 | 5.4 | 5.4 | 5.45 | 5.5 | 5.5 | 5.5 | 6.1 | 5.4 | 5.2 | 5.5 | 5.4 | 5.3 | 5.1 | 5.4 | 5.6 | 5.4 | 0 |  | 0 | 0 | 0 | 0 | 0.005 | 0 | 0 | 0.01 | 0 | 0 | 0.005 | 0 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 0.01 |  | 0 | 5.2 | 5.4 | 5.4 | 5.5 | 5.4 | 5.3 | 5.7 | 5.4 | 5.5 | 5.4 | 5.5 | 5.5 | 5.4 | 5.3 | 5.4 | 5.4 | 5.6 | 5.7 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.005 | 0 | 0.01 | 0.01 | 0 |  |  |  |  | 0 | 5.2 | 5.4 | 5.4 | 5.7 | 5.4 | 5.3 | 5.4 | 5.3 | 5.3 | 5.9 | 5.85 | 5.7 | 5.8 | 5.8 | 5.8 | 5.8 | 5.85 | 5.1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0.005 | 0 | 0 | 0.03 | 0 | 0 | 0.005 | 0
10 | 10.6 | 9.3 | 10.4 | 10.5 | 9.5 | 11.8 | 11.5 | 9.9 | 10.15 |  | 10 | 5.6 | 5.4 | 5.4 | 5.4 | 5.4 | 5.5 | 5.5 | 5.4 | 6.1 | 5.4 | 5.15 | 5.5 | 5.3 | 5.2 | 5 | 5.4 | 5.5 | 5.3 | 10 |  | 0.01 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0.01 | 0 | 0 | 0.005 | 0.01 | 0 | 0 | 0 | 0.01 | 0 | 0 |  | 10 | 5.2 | 5.4 | 5.4 | 5.5 | 5.4 | 5.3 | 5.7 | 5.3 | 5.5 | 5.4 | 5.4 | 5.4 | 5.3 | 5.25 | 5.4 | 5.3 | 5.5 | 5.7 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0.01 | 0.005 | 0.01 | 0 | 0 | 0.01 |  |  |  |  | 10 | 5.2 | 5.4 | 5.4 | 5.7 | 5.4 | 5.3 | 5.4 | 5.2 | 5.2 | 5.9 | 5.8 | 5.7 | 5.8 | 5.5 | 5.8 | 5.8 | 5.8 | 5.1 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.005 | 0 | 0 | 0.01 | -0.02 | 0 | 0 | 0 | 0.01
20 | 10.5 | 9.3 | 10.3 | 10.5 | 9.4 | 11.8 | 11.5 | 9.9 | 10.1 |  | 20 | 5.5 | 5.4 | 5.4 | 5.4 | 5.4 | 5.5 | 5.45 | 5.3 | 6.1 | 5.4 | 5.1 | 5.4 | 5.3 | 5.2 | 5 | 5.3 | 5.5 | 5.3 | 20 |  | 0 | 0 | 0 | 0.01 | 0 | 0 | 0.005 | 0.01 | 0 | 0 | 0.005 | 0 | 0.01 | 0 | 0 | 0 | 0.01 | 0.01 |  | 20 | 5.2 | 5.4 | 5.4 | 5.5 | 5.4 | 5.3 | 5.7 | 5.2 | 5.5 | 5.4 | 5.4 | 5.4 | 5.2 | 5.2 | 5.3 | 5.3 | 5.5 | 5.6 | 20 |  | 0.005 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0 |  |  |  |  | 20 | 5.2 | 5.4 | 5.4 | 5.7 | 5.4 | 5.3 | 5.4 | 5.1 | 5.1 | 5.85 | 5.8 | 5.7 | 5.7 | 5.7 | 5.8 | 5.8 | 5.8 | 5 | 20 |  | 0.005 | 0.005 | 0 | 0 | 0 | 0 | 0.005 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0
30 | 10.5 | 9.3 | 10.3 | 10.5 | 9.3 | 11.7 | 11.4 | 9.9 | 10 |  | 30 | 5.5 | 5.4 | 5.4 | 5.3 | 5.4 | 5.5 | 5.4 | 5.2 | 6.1 | 5.4 | 5.05 | 5.4 | 5.2 | 5.2 | 5 | 5.3 | 5.4 | 5.2 | 30 |  | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0.015 | 0 | 0 | 0.005 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0.01 |  | 30 | 5.15 | 5.35 | 5.4 | 5.5 | 5.4 | 5.3 | 5.7 | 5.1 | 5.5 | 5.4 | 5.3 | 5.4 | 5.2 | 5.2 | 5.3 | 5.25 | 5.5 | 5.6 | 30 |  | 0.0016667 | 0.0016667 | 0 | 0 | 0 | 0 | 0 | 0.0033333 | 0 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0016667 | 0.0033333 | 0 |  |  |  |  | 30 | 5.15 | 5.35 | 5.4 | 5.7 | 5.4 | 5.3 | 5.35 | 5 | 5 | 5.85 | 5.7 | 5.6 | 5.7 | 5.7 | 5.7 | 5.7 | 5.7 | 5 | 30 |  | 0.005 | 0.005 | 0 | 0 | 0 | 0 | 0.005 | 0.01 | 0.01 | 0 | 0.005 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0
40 | 10.5 | 9.2 | 10.3 | 10.5 | 9.3 | 11.7 | 11.4 | 9.9 | 10 |  | 40 | 5.5 | 5.4 | 5.3 | 5.3 | 5.4 | 5.5 | 5.4 | 5.05 | 6.1 | 5.4 | 5 | 5.4 | 5.2 | 5.1 | 4.9 | 5.3 | 5.4 | 5.1 | 40 |  | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0.005 | 0 | 0 | 0.005 | 0.01 | 0.01 | 0 | 0 | 0.01 | 0 | 0 |  | 40 | 5.1 | 5.3 | 5.4 | 5.5 | 5.4 | 5.3 | 5.7 | 5 | 5.5 | 5.4 | 5.3 | 5.3 | 5.1 | 5.1 | 5.25 | 5.2 | 5.4 | 5.6 | 40 |  | 0 | 0 | 0 | 0.0033333 | 0 | 0.0016667 | 0 | 0.0033333 | 0 | 0 | 0.0016667 | 0 | 0 | 0 | 0.0016667 | 0 | 0 | 0.0033333 |  |  |  |  | 40 | 5.1 | 5.3 | 5.4 | 5.7 | 5.4 | 5.3 | 5.3 | 4.9 | 4.9 | 5.85 | 5.65 | 5.6 | 5.6 | 5.6 | 5.7 | 5.7 | 5.7 | 5 | 40 |  | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0.01 | 0.01 | 0 | 0.005 | 0.005 | 0 | 0 | 0.01 | 0.005 | 0.01 | 0.01
50 | 10.5 | 9.2 | 10.3 | 10.5 | 9.2 | 11.7 | 11.4 | 9.9 | 9.9 |  | 50 | 5.5 | 5.4 | 5.3 | 5.3 | 5.4 | 5.4 | 5.4 | 5 | 6.1 | 5.4 | 4.95 | 5.3 | 5.1 | 5.1 | 4.9 | 5.2 | 5.4 | 5.1 | 50 |  | 0 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0 | 0.005 | 0.01 | 0 | 0.01 | 0 | 0 | 0.01 | 0.01 |  | 50 | 5.1 | 5.3 | 5.4 | 5.4 | 5.4 | 5.25 | 5.7 | 4.9 | 5.5 | 5.4 | 5.25 | 5.3 | 5.1 | 5.1 | 5.2 | 5.2 | 5.4 | 5.5 | 50 |  | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0 | 0 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0 | 0 | 0 | 0 |  |  |  |  | 50 | 5.1 | 5.3 | 5.4 | 5.7 | 5.4 | 5.25 | 5.3 | 4.8 | 4.8 | 5.85 | 5.6 | 5.55 | 5.6 | 5.6 | 5.6 | 5.65 | 5.6 | 4.9 | 50 |  | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0.01 | 0.005 | 0 | 0 | 0.005 | 0.01 | 0.01 | 0 | 0.005 | 0 | 0
60 | 10.4 | 9.2 | 10.3 | 10.5 | 9.15 | 11.7 | 11.4 | 9.8 | 9.8 | 1 | 60 | 5.5 | 5.35 | 5.3 | 5.3 | 5.4 | 5.4 | 5.4 | 4.95 | 6.1 | 5.4 | 4.9 | 5.2 | 5.1 | 5 | 4.9 | 5.2 | 5.3 | 5 | 60 |  | 0.0033333 | 0.0016667 | 0 | 0 | 0 | 0 | 0.0016667 | 0.011667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0066667 | 1 | 60 | 5.1 | 5.3 | 5.4 | 5.4 | 5.4 | 5.2 | 5.65 | 4.8 | 5.5 | 5.4 | 5.2 | 5.2 | 5 | 5 | 5.2 | 5.2 | 5.4 | 5.5 | 60 |  | 0 | 0 | 0.0016667 | 0 | 0.0033333 | 0 | 0.0016667 | 0.01 | 0.0016667 | 0 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | after resoldering | <==== | before resoldering | ====> | 60 | 5.1 | 5.3 | 5.4 | 5.7 | 5.4 | 5.2 | 5.3 | 4.7 | 4.75 | 5.85 | 5.6 | 5.5 | 5.5 | 5.5 | 5.6 | 5.6 | 5.6 | 4.9 | 60 |  | 0 | 0 | 0.0016667 | 0 | 0.0033333 | 0 | 0 | 0.01 | 0.0083333 | 0.0016667 | 0.0066667 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
90 | 10.4 | 9.1 | 10.3 | 10.4 | 8.9 | 11.6 | 11.4 | 9.8 | 9.6 |  | 90 | 5.4 | 5.3 | 5.3 | 5.3 | 5.4 | 5.4 | 5.35 | 4.6 | 6.1 | 5.4 | 4.8 | 5.1 | 4.95 | 4.9 | 4.8 | 5.1 | 5.2 | 4.8 | 90 |  | 0 | 0 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0016667 | 0.0066667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0066667 |  | 90 | 5.1 | 5.3 | 5.35 | 5.4 | 5.3 | 5.2 | 5.6 | 4.5 | 5.45 | 5.4 | 5.1 | 5.15 | 4.9 | 4.9 | 5.05 | 5.05 | 5.3 | 5.4 | 90 |  | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0 | 0.0033333 | 0 | 0.0066667 | 0 | 0 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 90 | 5.1 | 5.3 | 5.35 | 5.7 | 5.3 | 5.2 | 5.3 | 4.4 | 4.5 | 5.8 | 5.4 | 5.4 | 5.35 | 5.4 | 5.5 | 5.5 | 5.5 | 4.8 | 90 |  | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0083333 | 0.0066667 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.0066667 | 0.0066667 | 0.0033333 | 0.0033333 | 0.0033333
120 | 10.3 | 9 | 10.2 | 10.4 | 8.8 | 11.5 | 11.3 | 9.75 | 9.4 | 2 | 120 | 5.4 | 5.3 | 5.3 | 5.3 | 5.35 | 5.35 | 5.3 | 4.4 | 6.1 | 5.4 | 4.7 | 5 | 4.8 | 4.8 | 4.7 | 5 | 5.1 | 4.6 | 120 |  | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0016667 | 0 | 0.0066667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0066667 | 2 | 120 | 5 | 5.2 | 5.3 | 5.3 | 5.3 | 5.1 | 5.6 | 4.3 | 5.45 | 5.4 | 4.95 | 5 | 4.8 | 4.8 | 4.95 | 4.95 | 5.2 | 5.3 | 120 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0033333 | 0.0066667 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.005 | 0.005 | 0.0016667 | 0.0033333 | 0.0033333 |  |  |  |  | 120 | 5 | 5.2 | 5.3 | 5.6 | 5.3 | 5.1 | 5.2 | 4.15 | 4.3 | 5.8 | 5.3 | 5.3 | 5.2 | 5.2 | 5.3 | 5.4 | 5.4 | 4.7 | 120 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0083333 | 0.0083333 | 0 | 0.0033333 | 0.005 | 0.0066667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
150 | 10.2 | 8.9 | 10.2 | 10.3 | 8.5 | 11.3 | 11.3 | 9.7 | 9.2 |  | 150 | 5.3 | 5.3 | 5.2 | 5.2 | 5.3 | 5.3 | 5.3 | 4.2 | 6.1 | 5.4 | 4.6 | 4.9 | 4.65 | 4.7 | 4.6 | 4.9 | 5 | 4.4 | 150 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0033333 | 0.0083333 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  | 150 | 5 | 5.2 | 5.3 | 5.3 | 5.3 | 5.1 | 5.5 | 4.1 | 5.4 | 5.4 | 4.85 | 4.9 | 4.65 | 4.65 | 4.8 | 4.9 | 5.1 | 5.2 | 150 |  | 0.0033333 | 0.0033333 | 0 | 0 | 0 | 0 | 0 | 0.0066667 | 0 | 0 | 0.005 | 0.0033333 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 150 | 5 | 5.2 | 5.3 | 5.6 | 5.3 | 5.1 | 5.2 | 3.9 | 4.05 | 5.8 | 5.2 | 5.15 | 5 | 5.1 | 5.2 | 5.3 | 5.3 | 4.6 | 150 |  | 0.0033333 | 0.0033333 | 0 | 0 | 0 | 0 | 0.0033333 | 0.0066667 | 0.0083333 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
180 | 10.1 | 8.9 | 10.2 | 10.3 | 8.4 | 11.2 | 11.3 | 9.7 | 9.05 | 3 | 180 | 5.3 | 5.3 | 5.2 | 5.2 | 5.3 | 5.3 | 5.2 | 3.95 | 6.1 | 5.3 | 4.5 | 4.8 | 4.5 | 4.6 | 4.5 | 4.8 | 4.9 | 4.3 | 180 |  | 0.0033333 | 0.0033333 | 0 | 0 | 0 | 0.0033333 | 0 | 0.0083333 | 0 | 0 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0066667 | 3 | 180 | 4.9 | 5.1 | 5.3 | 5.3 | 5.3 | 5.1 | 5.5 | 3.9 | 5.4 | 5.4 | 4.7 | 4.8 | 4.5 | 4.5 | 4.7 | 4.8 | 5 | 5.1 | 180 |  | 0 | 0 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0066667 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 180 | 4.9 | 5.1 | 5.3 | 5.6 | 5.3 | 5.1 | 5.1 | 3.7 | 3.8 | 5.8 | 5.1 | 5.05 | 4.9 | 4.95 | 5.1 | 5.2 | 5.2 | 4.5 | 180 |  | 0 | 0 | 0.0033333 | 0 | 0.0016667 | 0.0033333 | 0 | 0.0066667 | 0.0066667 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
210 | 10.1 | 8.8 | 10.1 | 10.3 | 8.2 | 11.1 | 11.2 | 9.6 | 8.9 |  | 210 | 5.2 | 5.2 | 5.2 | 5.2 | 5.3 | 5.2 | 5.2 | 3.7 | 6.1 | 5.3 | 4.35 | 4.7 | 4.4 | 4.5 | 4.4 | 4.75 | 4.8 | 4.1 | 210 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 0.0066667 | 0 | 0 | 0.005 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0016667 | 0.0033333 | 0.005 |  | 210 | 4.9 | 5.1 | 5.2 | 5.2 | 5.25 | 5 | 5.4 | 3.7 | 5.4 | 5.35 | 4.65 | 4.7 | 4.4 | 4.4 | 4.6 | 4.7 | 4.9 | 5 | 210 |  | 0.0033333 | 0.0016667 | 0 | 0 | 0.0016667 | 0 | 0 | 0.0066667 | 0 | 0 | 0.005 | 0.0016667 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 210 | 4.9 | 5.1 | 5.2 | 5.6 | 5.25 | 5 | 5.1 | 3.5 | 3.6 | 5.8 | 5 | 4.95 | 4.75 | 4.8 | 5 | 5.1 | 5.1 | 4.4 | 210 |  | 0.0033333 | 0.0016667 | 0 | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0.0066667 | 0.0066667 | 0 | 0.0033333 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
240 | 10 | 8.7 | 10.1 | 10.2 | 8.1 | 11 | 11.2 | 9.6 | 8.7 | 4 | 240 | 5.2 | 5.2 | 5.2 | 5.2 | 5.3 | 5.2 | 5.15 | 3.5 | 6.1 | 5.3 | 4.2 | 4.6 | 4.3 | 4.35 | 4.3 | 4.7 | 4.7 | 3.95 | 240 |  | 0.0033333 | 0 | 0.0033333 | 0 | 0 | 0.0033333 | 0.0016667 | 0.005 | 0.0016667 | 0 | 0.005 | 0.0033333 | 0.0066667 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 4 | 240 | 4.8 | 5.05 | 5.2 | 5.2 | 5.2 | 5 | 5.4 | 3.5 | 5.4 | 5.35 | 4.5 | 4.65 | 4.25 | 4.3 | 4.5 | 4.6 | 4.8 | 4.9 | 240 |  | 0 | 0.0016667 | 0 | 0.0033333 | 0 | 0 | 0.0016667 | 0.01 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0016667 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 240 | 4.8 | 5.05 | 5.2 | 5.55 | 5.2 | 5 | 5.05 | 3.3 | 3.4 | 5.8 | 4.9 | 4.8 | 4.6 | 4.7 | 4.9 | 5 | 5 | 4.3 | 240 |  | 0 | 0.0016667 | 0 | 0.0016667 | 0 | 0 | 0.0016667 | 0.0066667 | 0.0066667 | 0 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[11 empty] | 270 | 5.1 | 5.2 | 5.1 | 5.2 | 5.3 | 5.1 | 5.1 | 3.35 | 6.05 | 5.3 | 4.05 | 4.5 | 4.1 | 4.2 | 4.2 | 4.6 | 4.6 | 3.8 | 270 |  | 0 | 0.0016667 | 0 | 0.0016667 | 0.0033333 | 0 | 0 | 0.005 | 0 | 0 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0066667 |  | 270 | 4.8 | 5 | 5.2 | 5.1 | 5.2 | 5 | 5.35 | 3.2 | 5.35 | 5.3 | 4.4 | 4.6 | 4.1 | 4.2 | 4.4 | 4.5 | 4.7 | 4.8 | 270 |  | 0 | 0 | 0.0016667 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0016667 | 0 |  |  |  |  | 270 | 4.8 | 5 | 5.2 | 5.5 | 5.2 | 5 | 5 | 3.1 | 3.2 | 5.8 | 4.75 | 4.7 | 4.5 | 4.6 | 4.8 | 4.9 | 4.9 | 4.2 | 270 |  | 0 | 0 | 0.0016667 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0066667 | 0.0033333 | 0 | 0.005 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
| 0.6 | 0.6 | 0.3 | 0.3 | 1.5 | 0.8 | 0.3 | 0.3 | 1.5 | 5 | 300 | 5.1 | 5.15 | 5.1 | 5.15 | 5.2 | 5.1 | 5.1 | 3.2 | 6.05 | 5.3 | 3.9 | 4.4 | 4 | 4.1 | 4.1 | 4.5 | 4.5 | 3.6 | 300 |  | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0 | 0 | 0.0033333 | 0.0066667 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 5 | 300 | 4.8 | 5 | 5.15 | 5.1 | 5.2 | 4.95 | 5.3 | 3.1 | 5.3 | 5.3 | 4.3 | 4.5 | 4 | 4.1 | 4.35 | 4.4 | 4.65 | 4.8 | 300 |  | 0.0033333 | 0.0033333 | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0 | 0.0066667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0016667 | 0.0033333 |  |  |  |  | 300 | 4.8 | 5 | 5.15 | 5.5 | 5.2 | 4.95 | 4.95 | 2.9 | 3.1 | 5.8 | 4.6 | 4.6 | 4.35 | 4.5 | 4.7 | 4.8 | 4.8 | 4.1 | 300 |  | 0.0033333 | 0.0033333 | 0.0016667 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0066667 | 0.0066667 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[11 empty] | 330 | 5.05 | 5.1 | 5.1 | 5.1 | 5.2 | 5.1 | 5 | 3 | 6 | 5.3 | 3.8 | 4.3 | 3.9 | 4 | 4 | 4.4 | 4.4 | 3.5 | 330 |  | 0.0016667 | 0 | 0.0016667 | 0 | 0 | 0.0033333 | 0 | 0.005 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  | 330 | 4.7 | 4.9 | 5.1 | 5.05 | 5.2 | 4.9 | 5.3 | 2.9 | 5.3 | 5.3 | 4.2 | 4.4 | 3.9 | 4 | 4.2 | 4.3 | 4.6 | 4.7 | 330 |  | 0 | 0 | 0 | 0.0016667 | 0 | 0 | 0.0033333 | 0.0033333 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0 | 0.0016667 | 0.0033333 | 0.0033333 |  |  |  |  | 330 | 4.7 | 4.9 | 5.1 | 5.5 | 5.2 | 4.9 | 4.9 | 2.7 | 2.9 | 5.8 | 4.5 | 4.5 | 4.2 | 4.35 | 4.6 | 4.7 | 4.7 | 4 | 330 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0.005 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[10 empty] | 6 | 360 | 5 | 5.1 | 5.05 | 5.1 | 5.2 | 5 | 5 | 2.85 | 6 | 5.3 | 3.7 | 4.2 | 3.8 | 3.9 | 3.9 | 4.3 | 4.3 | 3.4 | 360 |  | 0.0033333 | 0 | 0.0016667 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0066667 | 6 | 360 | 4.7 | 4.9 | 5.1 | 5 | 5.2 | 4.9 | 5.2 | 2.8 | 5.3 | 5.3 | 4.1 | 4.3 | 3.8 | 3.9 | 4.2 | 4.25 | 4.5 | 4.6 | 360 |  | 0.0016667 | 0.0016667 | 0 | 0 | 0 | 0.0033333 | 0 | 0.0066667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 |  |  |  |  | 360 | 4.7 | 4.9 | 5.1 | 5.5 | 5.2 | 4.9 | 4.9 | 2.55 | 2.75 | 5.8 | 4.4 | 4.4 | 4.1 | 4.2 | 4.5 | 4.6 | 4.6 | 3.9 | 360 |  | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0 | 0.0033333 | 0.0016667 | 0.005 | 0.005 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[11 empty] | 390 | 4.9 | 5.1 | 5 | 5.1 | 5.2 | 5 | 5 | 2.7 | 6 | 5.3 | 3.65 | 4.1 | 3.7 | 3.8 | 3.8 | 4.25 | 4.2 | 3.2 | 390 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 0.0033333 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 |  | 390 | 4.65 | 4.85 | 5.1 | 5 | 5.2 | 4.8 | 5.2 | 2.6 | 5.3 | 5.3 | 4 | 4.2 | 3.65 | 3.8 | 4.1 | 4.2 | 4.4 | 4.5 | 390 |  | 0.0016667 | 0.0016667 | 0 | 0.0033333 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 |  |  |  |  | 390 | 4.65 | 4.85 | 5.1 | 5.45 | 5.2 | 4.8 | 4.85 | 2.4 | 2.6 | 5.8 | 4.3 | 4.3 | 4 | 4.1 | 4.4 | 4.5 | 4.5 | 3.8 | 390 |  | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0.0016667 | 0 | 0.0016667 | 0.0066667 | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0066667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[10 empty] | 7 | 420 | 4.9 | 5.1 | 5 | 5.1 | 5.2 | 5 | 4.95 | 2.6 | 6 | 5.3 | 3.55 | 4 | 3.6 | 3.7 | 3.7 | 4.2 | 4.1 | 3.1 | 420 |  | 0 | 0.0033333 | 0 | 0 | 0 | 0.0033333 | 0.0016667 | 0.0066667 | 0 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 7 | 420 | 4.6 | 4.8 | 5.1 | 4.9 | 5.15 | 4.8 | 5.1 | 2.5 | 5.25 | 5.3 | 3.9 | 4.1 | 3.55 | 3.7 | 4 | 4.1 | 4.3 | 4.4 | 420 |  | 0 | 0 | 0.0033333 | 0 | 0.0016667 | 0.0033333 | 0 | 0.0033333 | 0 | 0 | 0.0016667 | 0.0033333 | 0.005 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 |  |  |  |  | 420 | 4.6 | 4.8 | 5.1 | 5.4 | 5.15 | 4.8 | 4.8 | 2.2 | 2.5 | 5.8 | 4.2 | 4.2 | 3.8 | 4 | 4.3 | 4.4 | 4.4 | 3.7 | 420 |  | 0 | 0 | 0.0033333 | 0 | 0.0016667 | 0.0033333 | 0 | 0.0033333 | 0.0066667 | 0 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0016667 | 0
[11 empty] | 450 | 4.9 | 5 | 5 | 5.1 | 5.2 | 4.9 | 4.9 | 2.4 | 6 | 5.3 | 3.45 | 3.9 | 3.5 | 3.6 | 3.6 | 4.1 | 4 | 3 | 450 |  | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0 | 0 | 0.0033333 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0 | 0.0033333 |  | 450 | 4.6 | 4.8 | 5 | 4.9 | 5.1 | 4.7 | 5.1 | 2.4 | 5.25 | 5.3 | 3.85 | 4 | 3.4 | 3.6 | 3.9 | 4 | 4.25 | 4.3 | 450 |  | -0.00018519 | -0.00018519 | 0 | -9.2593e-05 | 0 | -9.2593e-05 | 0 | -0.00037037 | -9.2593e-05 | 0 | -9.2593e-05 | -9.2593e-05 | -0.00018519 | -0.00018519 | -0.00018519 | -0.00018519 | -9.2593e-05 | -0.00018519 |  |  |  |  | 450 | 4.6 | 4.8 | 5 | 5.4 | 5.1 | 4.7 | 4.8 | 2.1 | 2.3 | 5.8 | 4.1 | 4.15 | 3.7 | 3.9 | 4.2 | 4.35 | 4.35 | 3.7 | 450 |  | 0.0033333 | 0.0033333 | 0 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0033333 | 0 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0016667 | 0.0033333
[10 empty] | 8 | 480 | 4.8 | 5 | 4.9 | 5 | 5.1 | 4.9 | 4.9 | 2.3 | 6 | 5.25 | 3.4 | 3.8 | 3.4 | 3.55 | 3.5 | 4 | 4 | 2.9 | 480 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 0.0033333 | 0 | 0.0016667 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 | 8 | 480 | 4.5 | 4.7 | 5 | 4.85 | 5.1 | 4.65 | 5.1 | 2.2 | 5.2 | 5.3 | 3.8 | 3.95 | 3.3 | 3.5 | 3.8 | 3.9 | 4.2 | 4.2 | 480 |  | 0 | 0 | 0 | 0.0016667 | 0 | 0.0016667 | 0.0033333 | 0.0033333 | 0 | 0 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0016667 |  |  |  |  | 480 | 4.5 | 4.7 | 5 | 5.4 | 5.1 | 4.65 | 4.75 | 2 | 2.2 | 5.8 | 4 | 4.1 | 3.6 | 3.8 | 4.1 | 4.3 | 4.3 | 3.6 | 480 |  | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[11 empty] | 510 | 4.8 | 5 | 4.9 | 5 | 5.1 | 4.9 | 4.85 | 2.2 | 6 | 5.2 | 3.35 | 3.75 | 3.3 | 3.5 | 3.4 | 3.9 | 3.9 | 2.75 | 510 |  | 0 | 0 | 0 | 0 | 0 | 0.0033333 | 0.0016667 | 0.0033333 | 0 | 0 | 0.0016667 | 0.0016667 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.005 |  | 510 | 4.5 | 4.7 | 5 | 4.8 | 5.1 | 4.6 | 5 | 2.1 | 5.2 | 5.3 | 3.7 | 3.9 | 3.2 | 3.4 | 3.7 | 3.85 | 4.1 | 4.15 | 510 |  | 0.0016667 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0033333 | 0.0016667 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0016667 | 0.0033333 | 0.0016667 |  |  |  |  | 510 | 4.5 | 4.7 | 5 | 5.4 | 5.1 | 4.6 | 4.7 | 1.9 | 2.1 | 5.8 | 3.9 | 4 | 3.5 | 3.7 | 4 | 4.2 | 4.2 | 3.5 | 510 |  | 0.0016667 | 0 | 0 | 0.0016667 | 0 | 0 | 0 | 0.005 | 0.0033333 | 0 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333 | 0.0033333
[10 empty] | 9 | 540 | 4.8 | 5 | 4.9 | 5 | 5.1 | 4.8 | 4.8 | 2.1 | 6 | 5.2 | 3.3 | 3.7 | 3.2 | 3.4 | 3.3 | 3.8 | 3.8 | 2.6 | 540 | [19 empty] | 9 | 540 | 4.45 | 4.7 | 5 | 4.8 | 5.1 | 4.6 | 5 | 2 | 5.15 | 5.3 | 3.6 | 3.8 | 3.1 | 3.3 | 3.6 | 3.8 | 4 | 4.1 | 540 | [23 empty] | 540 | 4.45 | 4.7 | 5 | 5.35 | 5.1 | 4.6 | 4.7 | 1.75 | 2 | 5.8 | 3.8 | 3.9 | 3.4 | 3.6 | 3.9 | 4.1 | 4.1 | 3.4 | 540
[21 empty] | 0.02 | 0.34 | 0.18 | 0.34 | 0.07 | 0.25 | 0.06 | 0.16 | 0.38 |  | mb/min | 0.090909 | 0.045455 | 0.063636 | 0.054545 | 0.040909 | 0.081818 | 0.081818 | 0.40909 | 0.0090909 | 0.018182 | 0.22727 | 0.21818 | 0.25455 | 0.22727 | 0.2 | 0.18182 | 0.21818 | 0.32727 | [11 empty] | 0.01 | 0.35 | 0.15 | 0.41 | 0.08 | 0.08 | 0.04 | 0.14 | 0.18 |  | mb/min | 0.067677 | 0.063131 | 0.036364 | 0.058838 | 0.027273 | 0.058838 | 0.063636 | 0.34444 | 0.02702 | 0.0090909 | 0.20429 | 0.16793 | 0.23586 | 0.1904 | 0.17222 | 0.16313 | 0.15884 | 0.15404 | [14 empty] | 0 | 0.44 | 0.1 | 0.42 | 0.14 | 0.1 | 0.06 | 0.18 | 0.18 |  | mb/min | 0.086364 | 0.081818 | 0.036364 | 0.031818 | 0.027273 | 0.081818 | 0.081818 | 0.43182 | 0.4 | 0.018182 | 0.23182 | 0.2 | 0.27273 | 0.25455 | 0.20909 | 0.19091 | 0.20455 | 0.19091
[31 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1.5 | 0.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1.5 | 0.5 | [5 empty] | 0.7 | [15 empty] | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1.5 | 0.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 1.5 | [25 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 1.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 1.5
[31 empty] | 2: 7 | [11 empty] | sec | M155 2nd | M012 2nd | M013 alone |  |  |  | M016 2nd |  |  |  |  | 7 | [30 empty] | sec | M155 2nd | M012 2nd | M013 alone |  |  |  | M016 2nd
[32 empty] | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0 | 5.8 | 5.8 |  |  |  |  | 5.8 |  |  |  | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | 0 | 5.8 | 5.8 |  |  |  |  | 5.8 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[32 empty] | 0.090909 | 0.090909 | 0.19091 | 0.21818 | 0.20455 | 0.49091 | 0.57273 | 0.61364 | 0.0045455 | 0.018182 | 0.45455 | 0.65455 | 1.0182 | 1.1364 | 1.2 | 1.2727 | 0.32727 | 0.16364 | [11 empty] | 10 | 5.7 | 5.75 |  |  |  |  | 5.8 |  |  |  | 0.067677 | 0.12626 | 0.10909 | 0.23535 | 0.13636 | 0.35303 | 0.44545 | 0.51667 | 0.01351 | 0.0090909 | 0.40859 | 0.50379 | 0.94343 | 0.95202 | 1.0333 | 1.1419 | 0.15884 | 0.23106 | [14 empty] | 10 | 5.7 | 5.75 |  |  |  |  | 5.8 |  |  |  | 0.086364 | 0.16364 | 0.10909 | 0.12727 | 0.13636 | 0.49091 | 0.57273 | 0.43182 | 0.6 | 0.018182 | 0.46364 | 0.6 | 1.0909 | 1.2727 | 1.2545 | 1.3364 | 0.20455 | 0.28636
[59 empty] | 5.5 |  | 20 | 5.7 | 5.7 |  |  |  |  | 5.7 | [35 empty] | 20 | 5.7 | 5.7 |  |  |  |  | 5.7
[31 empty] | dP/dt_prod | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24 | [9 empty] | 5.2 |  | 30 | 5.65 | 5.7 |  |  |  |  | 5.7 |  |  | dP/dt_prod | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24 | [14 empty] | 30 | 5.65 | 5.7 |  |  |  |  | 5.7 |  |  | dP/dt_prod | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24
[59 empty] | 5 |  | 40 | 5.6 | 5.6 |  |  |  |  | 5.7 | [35 empty] | 40 | 5.6 | 5.6 |  |  |  |  | 5.7
[31 empty] | dP/dt_V | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24 | [9 empty] | 4.7 |  | 50 | 5.55 | 5.6 |  |  |  |  | 5.6 |  |  | dP/dt_V | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24 | [14 empty] | 50 | 5.55 | 5.6 |  |  |  |  | 5.6 |  |  | dP/dt_V | 0.14 | 0 | 0.14 | 0 | 0 | 0.32 | 0.11 | 0.6 | 0 | 0.02 | 0.23 | 0.19 | 0.38 | 0.17 | 0.32 | 0.05 | 0.38 | 0.24
[31 empty] | dP/dt_sum | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.46 | 0.57 | 0.6 | 0 | 0.02 | 0.25 | 0.63 | 0.63 | 0.8 | 1.12 | 1.17 | 0.38 | 0.5 | [9 empty] | 4.5 |  | 60 | 5.5 | 5.5 | 5.2 |  |  |  | 5.6 |  |  | dP/dt_sum | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.46 | 0.57 | 0.6 | 0 | 0.02 | 0.25 | 0.63 | 0.63 | 0.8 | 1.12 | 1.17 | 0.38 | 0.5 | [14 empty] | 60 | 5.5 | 5.5 | 5.2 |  |  |  | 5.6 |  |  | dP/dt_sum | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.46 | 0.57 | 0.6 | 0.6 | 0.02 | 0.25 | 0.63 | 0.63 | 0.8 | 1.12 | 1.17 | 0.38 | 0.5
[31 empty] | dP/dt_sum/V | 0.14 | 0.07 | 0.046667 | 0.035 | 0.028 | 0.076667 | 0.081429 | 0.4 | 0 | 0.02 | 0.125 | 0.21 | 0.1575 | 0.16 | 0.18667 | 0.16714 | 0.25333 | 1 | [9 empty] | 4.2 |  | 90 | 5.4 | 5.4 | 4.9 |  |  |  | 5.5 |  |  | dP/dt_sum/V | 0.14 | 0.07 | 0.046667 | 0.035 | 0.028 | 0.076667 | 0.081429 | 0.4 | 0 | 0.02 | 0.125 | 0.21 | 0.1575 | 0.16 | 0.18667 | 0.16714 | 0.38 | 0.33333 | [14 empty] | 90 | 5.4 | 5.4 | 4.9 |  |  |  | 5.5 |  |  | dP/dt_sum/V | 0.14 | 0.07 | 0.046667 | 0.035 | 0.028 | 0.076667 | 0.081429 | 0.6 | 0.4 | 0.02 | 0.125 | 0.21 | 0.1575 | 0.16 | 0.18667 | 0.16714 | 0.38 | 0.33333
[59 empty] | 4 |  | 120 | 5.25 | 5.3 | 4.65 |  |  |  | 5.4 | [35 empty] | 120 | 5.25 | 5.3 | 4.65 |  |  |  | 5.4
[32 empty] | 0.090909 | 4.0246e-16 | 0.1 | 0.027273 | -0.013636 | 0.28636 | 0.081818 | 0.60909 | 0.0090909 | 0.018182 | 0.43636 | 0.2 | 0.36364 | 0.11818 | 0.063636 | 0.072727 | 0.16364 | 0.32727 | [9 empty] | 3.4 |  | 150 | 5.1 | 5.2 | 4.4 |  |  |  | 5.3 |  |  |  | 0.067677 | 0.058586 | -0.017172 | 0.12626 | -0.09899 | 0.21667 | 0.092424 | 0.34444 | 0.50316 | 0.0090909 | 0.39949 | 0.095202 | 0.43965 | 0.0085859 | 0.081313 | 0.10859 | 0.15884 | 0.14444 | [14 empty] | 150 | 5.1 | 5.2 | 4.4 |  |  |  | 5.3 |  |  |  | 0.086364 | 0.077273 | -0.054545 | 0.018182 | 0.0090909 | 0.35455 | 0.081818 | 0.43182 | 0.33636 | 0.018182 | 0.44545 | 0.13636 | 0.49091 | 0.18182 | -0.018182 | 0.081818 | 0.20455 | 0.16364
[32 empty] | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.015 | 0.015811 | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.015 | 0.015811 | [9 empty] | 2.9 |  | 180 | 5 | 5.1 | 4.2 |  |  |  | 5.2 |  |  |  | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.015 | 0.015811 | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.01 | 0.018028 | [14 empty] | 180 | 5 | 5.1 | 4.2 |  |  |  | 5.2 |  |  |  | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.01 | 0.018028 | 0.01 | 0.022361 | 0.036056 | 0.05 | 0.064031 | 0.078102 | 0.092195 | 0.01 | 0.018028
[59 empty] | 2.4 |  | 210 | 4.9 | 5 | 3.95 |  |  |  | 5.05 | [35 empty] | 210 | 4.9 | 5 | 3.95 |  |  |  | 5.05
[59 empty] | 2 |  | 240 | 4.8 | 4.85 | 3.7 |  |  |  | 5 | [35 empty] | 240 | 4.8 | 4.85 | 3.7 |  |  |  | 5
[59 empty] | 1.7 |  | 270 | 4.7 | 4.7 | 3.5 |  |  |  | 4.9 | [35 empty] | 270 | 4.7 | 4.7 | 3.5 |  |  |  | 4.9
[59 empty] | 1.4 |  | 300 | 4.6 | 4.6 | 3.3 |  |  |  | 4.8 | [35 empty] | 300 | 4.6 | 4.6 | 3.3 |  |  |  | 4.8
[59 empty] | 1.1 |  | 330 | 4.4 | 4.5 | 3.1 |  |  |  | 4.7 | [35 empty] | 330 | 4.4 | 4.5 | 3.1 |  |  |  | 4.7
[59 empty] | 0.9 |  | 360 | 4.3 | 4.4 | 2.9 |  |  |  | 4.6 | [35 empty] | 360 | 4.3 | 4.4 | 2.9 |  |  |  | 4.6
[59 empty] | 0.7 |  | 390 | 4.2 | 4.35 | 2.8 |  |  |  | 4.5 | [35 empty] | 390 | 4.2 | 4.35 | 2.8 |  |  |  | 4.5
[61 empty] | 420 | 4.1 | 4.25 | 2.6 |  |  |  | 4.4 | [35 empty] | 420 | 4.1 | 4.25 | 2.6 |  |  |  | 4.4
[61 empty] | 450 | 4 | 4.2 | 2.4 | [39 empty] | 450 | 4 | 4.2 | 2.4
[61 empty] | 480 | 3.9 | 4.1 | 2.3 | [39 empty] | 480 | 3.9 | 4.1 | 2.3
[61 empty] | 510 | 3.85 | 4 | 2.1 | [39 empty] | 510 | 3.85 | 4 | 2.1
[61 empty] | 540 | 3.8 | 3.9 | 2 | [39 empty] | 540 | 3.8 | 3.9 | 2
[64 empty] | 0.34 | [42 empty] | 0.34
[61 empty] | sec | M155 3rd | [41 empty] | sec | M155 3rd
[61 empty] | 0 | 5.75 | [41 empty] | 0 | 5.75
[61 empty] | 10 | 5.7 | [41 empty] | 10 | 5.7
[61 empty] | 20 | 5.7 | [41 empty] | 20 | 5.7
[61 empty] | 30 | 5.6 | [41 empty] | 30 | 5.6
[61 empty] | 40 | 5.6 | [41 empty] | 40 | 5.6
[61 empty] | 50 | 5.5 | [41 empty] | 50 | 5.5
[61 empty] | 60 | 5.5 | [41 empty] | 60 | 5.5
[61 empty] | 90 | 5.3 | [41 empty] | 90 | 5.3
[61 empty] | 120 | 5.2 | [41 empty] | 120 | 5.2
[61 empty] | 150 | 5.1 | [41 empty] | 150 | 5.1
[61 empty] | 180 | 5 | [41 empty] | 180 | 5
[61 empty] | 210 | 4.85 | [41 empty] | 210 | 4.85
[61 empty] | 240 | 4.7 | [41 empty] | 240 | 4.7
[61 empty] | 270 | 4.6 | [41 empty] | 270 | 4.6
[61 empty] | 300 | 4.5 | [41 empty] | 300 | 4.5
[61 empty] | 330 | 4.4 | [41 empty] | 330 | 4.4
[61 empty] | 360 | 4.3 | [41 empty] | 360 | 4.3
[61 empty] | 390 | 4.2 | [41 empty] | 390 | 4.2
[61 empty] | 420 | 4.1 | [41 empty] | 420 | 4.1
[61 empty] | 450 | 4 | [41 empty] | 450 | 4
[61 empty] | 480 | 3.9 | [41 empty] | 480 | 3.9
[61 empty] | 510 | 3.8 | [41 empty] | 510 | 3.8
[61 empty] | 540 | 3.7 | [41 empty] | 540 | 3.7
Note on AI4: Iuri Bagaturia: M004 <----> M011
Note on BE4: Iuri Bagaturia: M004 <----> M011
Note on BG4: Iuri Bagaturia: resoldered
Note on BJ4: Iuri Bagaturia: resoldered
Note on BK4: Iuri Bagaturia: After resoldering gastightnes are bad ~0,03mb/sec. The gas pipe-module connections (gluing) are defect;after reparatur OK.
Note on BK33: Iuri Bagaturia: 1st measurement WAR004/045, alone.1st indication of problems
Note on BN30: Sebastin Bachmann: 2nd measurement taken as a check
Note on BN55: Sebastin Bachmann: 3rd measurement taken a day after, since installation was interrupted
Note on BO30: Sebastin Bachmann: 2nd test taken yet another day after (14 sep 2006) because installation was again interrupted
Note on BP30: Sebastin Bachmann: taken a measurement of M013 alone in order to compare DIRECTLY to QA data from production
Note on BT30: Sebastin Bachmann: 2nd measurement taken as a check
Note on BY4: Iuri Bagaturia: M004 <----> M011
Note on DC4: Iuri Bagaturia: M004 <----> M011
Note on DL30: Sebastin Bachmann: 2nd measurement taken as a check
Note on DL55: Sebastin Bachmann: 3rd measurement taken a day after, since installation was interrupted
Note on DM30: Sebastin Bachmann: 2nd test taken yet another day after (14 sep 2006) because installation was again interrupted
Note on DN30: Sebastin Bachmann: taken a measurement of M013 alone in order to compare DIRECTLY to QA data from production
Note on DR30: Sebastin Bachmann: 2nd measurement taken as a check
Note on DW4: Iuri Bagaturia: M004 <----> M011

## Fe55-Test
U = | 1520 V | Tresh. = | -40 mV | Ar:CO2= | 70:30
| U | [35 empty] | X
MODULE | M004 |  |  |  | M155 |  |  |  | M012 |  |  |  | M013 |  |  |  | M014 |  |  |  | M159 |  |  |  | M_016 |  |  |  | S1 M046 |  |  |  | S3 M107 |  |  |  | M153 |  |  |  | M011 |  |  |  | M006 |  |  |  | M008 |  |  |  | M009 |  |  |  | M010 |  |  |  | M154 |  |  |  | W005 |  | W045 |  | W105
Panel | A_ |  | B_027 |  | A_019 |  | B_052 |  | A_ |  | B_100 |  | A_ |  | B_114 |  | A_ |  | B_033 |  | A_ |  | B_ |  | A_ |  | B_101 |  | A_ |  | B_ |  | A_ |  | B_025 |  | A_ |  | B_047 |  | A_ |  | B_094 |  | A_ |  | B_040 |  | A_ |  | B_035 |  | A_ |  | B_012 |  | A_ |  | B_055 |  | A_ |  | B_020 |  | B_S1U005 |  | B_S1L010 |  | A_S3L020 |  | B_
| L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | L | U | S1M046
Nch |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | Amp. (mV) |  |  |  | 42mm | 42mm | 75mm | 115mm
0 |  |  | 240 |  |  |  | 252 |  |  |  | 230 |  |  |  | 234 |  |  |  | 236 |  |  |  | 246 |  |  |  | 270 |  |  |  | 244 |  |  |  | 158 |  |  |  | 240 |  |  |  | 300 |  |  |  | 232 |  |  |  | 240 |  |  |  | 266 |  |  |  | 270 |  |  |  | 284 |  |  | 300 | 258 |  |  | 146 |  |  | 238 | 1 | 1.7 | 4 | 25 | 38
1 |  |  | 240 |  |  |  | 252 |  |  |  | 240 |  |  |  | 238 |  |  |  | 236 |  |  |  | 246 |  |  |  | 266 |  |  |  | 254 |  |  |  | 150 |  |  |  | 252 |  |  |  | 302 |  |  |  | 234 |  |  |  | 242 |  |  |  | 264 |  |  |  | 260 |  |  |  | 288 |  |  | 266 | 258 |  |  | 148 |  |  | 240 | 2 | 5 | 6 |  | 43
2 |  |  | 236 |  |  |  | 252 |  |  |  | 230 |  |  |  | 232 |  |  |  | 236 |  |  |  | 250 |  |  |  | 272 |  |  |  | 254 |  |  |  | 152 |  |  |  | 246 |  |  |  | 308 |  |  |  | 236 |  |  |  | 238 |  |  |  | 272 |  |  |  | 262 |  |  |  | 290 |  |  | 272 | 260 |  |  | 148 |  |  | 240 | 8 | 46.2 | 58 |  | 62
3 |  |  | 240 |  |  |  | 258 |  |  |  | 230 |  |  |  | 234 |  |  |  | 232 |  |  |  | 254 |  |  |  | 268 |  |  |  | 246 |  |  |  | 150 |  |  |  | 242 |  |  |  | 292 |  |  |  | 236 |  |  |  | 232 |  |  |  | 268 |  |  |  | 248 |  |  |  | 282 |  |  | 272 | 260 |  |  | 148 |  |  | 242 | 16 | 191.6 | 216 |  | 78
4 |  |  | 242 |  |  |  | 250 |  |  |  | 238 |  |  |  | 234 |  |  |  | 242 |  |  |  | 262 |  |  |  | 270 |  |  |  | 248 |  |  |  | 154 |  |  |  | 244 |  |  |  | 284 |  |  |  | 240 |  |  |  | 238 |  |  |  | 268 |  |  |  | 254 |  |  |  | 278 |  |  | 286 | 262 |  |  | 150 |  |  |  | 24 | 162 | 137 | 105 | 71
5 |  |  | 236 |  |  |  | 250 |  |  |  | 242 |  |  |  | 228 |  |  |  | 238 |  |  |  | 244 |  |  |  | 256 |  |  |  | 256 |  |  |  | 152 |  |  |  | 246 |  |  |  | 282 |  |  |  | 238 |  |  |  | 234 |  |  |  | 254 |  |  |  | 254 |  |  |  | 300 |  |  | 292 | 258 |  |  | 146 |  |  |  | 31 | 32 | 23 | 45 | 46
6 |  |  | 234 |  |  |  | 260 |  |  |  | 224 |  |  |  | 230 |  |  |  | 234 |  |  |  | 252 |  |  |  | 248 |  |  |  | 244 |  |  |  | 154 |  |  |  | 242 |  |  |  | 284 |  |  |  | 242 |  |  |  | 232 |  |  |  | 260 |  |  |  | 258 |  |  |  | 296 |  |  | 274 | 260 |  |  | 148 |  |  |  | 32 | 20 | 15 | 31 | 34
7 |  |  | 240 |  |  |  | 252 |  |  |  | 232 |  |  |  | 232 |  |  |  | 234 |  |  |  | 246 |  |  |  | 266 |  |  |  | 248 |  |  |  | 154 |  |  |  | 242 |  |  |  | 284 |  |  |  | 246 |  |  |  | 232 |  |  |  | 252 |  |  |  | 248 |  |  |  | 290 |  |  | 268 | 256 |  |  | 142
8 |  |  | 234 |  |  |  | 258 |  |  |  | 230 |  |  |  | 236 |  |  |  | 234 |  |  |  | 254 |  |  |  | 258 |  |  |  | 250 |  |  |  | 152 |  |  |  | 246 |  |  |  | 280 |  |  |  | 244 |  |  |  | 238 |  |  |  | 244 |  |  |  | 252 |  |  |  | 292 |  |  | 284 | 258 |  |  | 148
9 |  |  | 238 |  |  |  | 254 |  |  |  | 236 |  |  |  | 240 |  |  |  | 228 |  |  |  | 256 |  |  |  | 258 |  |  |  | 240 |  |  |  | 154 |  |  |  | 244 |  |  |  | 278 |  |  |  | 242 |  |  |  | 234 |  |  |  | 250 |  |  |  | 260 |  |  |  | 300 |  |  | 290 | 250 |  |  | 148
10 |  |  | 246 |  |  |  | 254 |  |  |  | 238 |  |  |  | 232 |  |  |  | 234 |  |  |  | 256 |  |  |  | 258 |  |  |  | 246 |  |  |  | 148 |  |  |  | 244 |  |  |  | 280 |  |  |  | 242 |  |  |  | 244 |  |  |  | 264 |  |  |  | 246 |  |  |  | 294 |  |  | 280 | 262 |  |  | 146
11 |  |  | 240 |  |  |  | 256 |  |  |  | 230 |  |  |  | 228 |  |  |  | 234 |  |  |  | 246 |  |  |  | 266 |  |  |  | 250 |  |  |  | 148 |  |  |  | 244 |  |  |  | 282 |  |  |  | 238 |  |  |  | 238 |  |  |  | 248 |  |  |  | 240 |  |  |  | 302 |  |  | 278 | 266 |  |  | 144
12 |  |  | 240 |  |  |  | 266 |  |  |  | 234 |  |  |  | 232 |  |  |  | 234 |  |  |  | 246 |  |  |  | 256 |  |  |  | 248 |  |  |  | 152 |  |  |  | 246 |  |  |  | 272 |  |  |  | 242 |  |  |  | 242 |  |  |  | 252 |  |  |  | 250 |  |  |  | 296 |  |  | 282 | 258 |  |  | 144
13 |  |  | 234 |  |  |  | 254 |  |  |  | 236 |  |  |  | 230 |  |  |  | 234 |  |  |  | 250 |  |  |  | 256 |  |  |  | 248 |  |  |  | 152 |  |  |  | 248 |  |  |  | 278 |  |  |  | 240 |  |  |  | 240 |  |  |  | 244 |  |  |  | 248 |  |  |  | 298 |  |  | 280 | 258 |  |  | 146
14 |  |  | 236 |  |  |  | 250 |  |  |  | 228 |  |  |  | 236 |  |  |  | 238 |  |  |  | 238 |  |  |  | 254 |  |  |  | 256 |  |  |  | 152 |  |  |  | 244 |  |  |  | 270 |  |  |  | 236 |  |  |  | 230 |  |  |  | 242 |  |  |  | 248 |  |  |  | 296 |  |  | 286 | 264 |  |  | 152 |  |  | 230
15 |  |  | 238 |  |  |  | 248 |  |  |  | 228 |  |  |  | 228 |  |  |  | 232 |  |  |  | 242 |  |  |  | 248 |  |  |  | 246 |  |  |  | 148 |  |  |  | 240 |  |  |  | 270 |  |  |  | 236 |  |  |  | 238 |  |  |  | 242 |  |  |  | 244 |  |  |  | 290 |  |  | 278 | 256 |  |  | 150 |  |  | 240
16 |  |  | 240 |  |  |  | 262 |  |  |  | 230 |  |  |  | 230 |  |  |  | 236 |  |  |  | 244 |  |  |  | 250 |  |  |  | 256 |  |  |  | 152 |  |  |  | 242 |  |  |  | 278 |  |  |  | 236 |  |  |  | 238 |  |  |  | 238 |  |  |  | 254 |  |  |  | 288 |  |  | 286 | 260 |  |  | 150 |  |  | 240
17 |  |  | 242 |  |  |  | 264 |  |  |  | 232 |  |  |  | 238 |  |  |  | 230 |  |  |  | 250 |  |  |  | 266 |  |  |  | 246 |  |  |  | 154 |  |  |  | 244 |  |  |  | 276 |  |  |  | 244 |  |  |  | 236 |  |  |  | 248 |  |  |  | 252 |  |  |  | 288 |  |  | 278 | 256 |  |  | 148 |  |  | 246
18 |  |  | 238 |  |  |  | 258 |  |  |  | 230 |  |  |  | 232 |  |  |  | 240 |  |  |  | 244 |  |  |  | 258 |  |  |  | 234 |  |  |  | 154 |  |  |  | 246 |  |  |  | 278 |  |  |  | 240 |  |  |  | 240 |  |  |  | 244 |  |  |  | 246 |  |  |  | 296 |  |  | 278 | 260 |  |  | 150 |  |  | 238
19 |  |  | 244 |  |  |  | 264 |  |  |  | 234 |  |  |  | 240 |  |  |  | 236 |  |  |  | 246 |  |  |  | 266 |  |  |  | 246 |  |  |  | 152 |  |  |  | 244 |  |  |  | 282 |  |  |  | 236 |  |  |  | 236 |  |  |  | 250 |  |  |  | 252 |  |  |  | 304 |  |  | 276 | 264 |  |  | 144 |  |  | 234
20 |  |  | 246 |  |  |  | 260 |  |  |  | 232 |  |  |  | 234 |  |  |  | 236 |  |  |  | 244 |  |  |  | 260 |  |  |  | 248 |  |  |  | 154 |  |  |  | 248 |  |  |  | 270 |  |  |  | 232 |  |  |  | 238 |  |  |  | 250 |  |  |  | 240 |  |  |  | 300 |  |  | 282 | 264 |  |  | 144 |  |  | 240
21 |  |  | 242 |  |  |  | 262 |  |  |  | 240 |  |  |  | 238 |  |  |  | 236 |  |  |  | 242 |  |  |  | 256 |  |  |  | 254 |  |  |  | 148 |  |  |  | 238 |  |  |  | 272 |  |  |  | 236 |  |  |  | 244 |  |  |  | 246 |  |  |  | 242 |  |  |  | 300 |  |  | 298 | 262 |  |  | 148 |  |  | 242
22 |  |  | 244 |  |  |  | 260 |  |  |  | 234 |  |  |  | 232 |  |  |  | 226 |  |  |  | 248 |  |  |  | 250 |  |  |  | 250 |  |  |  | 148 |  |  |  | 238 |  |  |  | 272 |  |  |  | 236 |  |  |  | 240 |  |  |  | 246 |  |  |  | 240 |  |  |  | 286 |  |  | 288 | 264 |  |  | 146 |  |  | 236
23 |  |  | 242 |  |  |  | 262 |  |  |  | 242 |  |  |  | 230 |  |  |  | 232 |  |  |  | 240 |  |  |  | 260 |  |  |  | 240 |  |  |  | 154 |  |  |  | 240 |  |  |  | 272 |  |  |  | 236 |  |  |  | 232 |  |  |  | 246 |  |  |  | 244 |  |  |  | 292 |  |  | 280 | 260 |  |  | 148
24 |  |  | 240 |  |  |  | 262 |  |  |  | 234 |  |  |  | 234 |  |  |  | 228 |  |  |  | 242 |  |  |  | 250 |  |  |  | 246 |  |  |  | 154 |  |  |  | 246 |  |  |  | 278 |  |  |  | 236 |  |  |  | 236 |  |  |  | 238 |  |  |  | 244 |  |  |  | 280 |  |  | 292 | 262 |  |  | 146
25 |  |  | 246 |  |  |  | 262 |  |  |  | 238 |  |  |  | 224 |  |  |  | 234 |  |  |  | 244 |  |  |  | 266 |  |  |  | 240 |  |  |  | 150 |  |  |  | 242 |  |  |  | 278 |  |  |  | 240 |  |  |  | 244 |  |  |  | 244 |  |  |  | 242 |  |  |  | 292 |  |  | 300 | 266 |  |  | 146
26 |  |  | 240 |  |  |  | 264 |  |  |  | 232 |  |  |  | 230 |  |  |  | 234 |  |  |  | 242 |  |  |  | 258 |  |  |  | 248 |  |  |  | 156 |  |  |  | 240 |  |  |  | 268 |  |  |  | 232 |  |  |  | 234 |  |  |  | 242 |  |  |  | 240 |  |  |  | 288 |  |  | 280 | 260 |  |  | 150
27 |  |  | 244 |  |  |  | 266 |  |  |  | 242 |  |  |  | 234 |  |  |  | 238 |  |  |  | 242 |  |  |  | 258 |  |  |  | 248 |  |  |  | 150 |  |  |  | 242 |  |  |  | 272 |  |  |  | 238 |  |  |  | 244 |  |  |  | 248 |  |  |  | 244 |  |  |  | 286 |  |  | 292 | 258 |  |  | 148
28 |  |  | 240 |  |  |  | 262 |  |  |  | 230 |  |  |  | 234 |  |  |  | 232 |  |  |  | 230 |  |  |  | 254 |  |  |  | 246 |  |  |  | 150 |  |  |  | 244 |  |  |  | 278 |  |  |  | 238 |  |  |  | 240 |  |  |  | 252 |  |  |  | 248 |  |  |  | 282 |  |  | 300 | 262 |  |  | 148
29 |  |  | 234 |  |  |  | 262 |  |  |  | 234 |  |  |  | 234 |  |  |  | 234 |  |  |  | 244 |  |  |  | 258 |  |  |  | 254 |  |  |  | 152 |  |  |  | 246 |  |  |  | 272 |  |  |  | 234 |  |  |  | 238 |  |  |  | 256 |  |  |  | 248 |  |  |  | 298 |  |  | 298 | 254 |  |  | 150 |  |  | 242
30 |  |  | 240 |  |  |  | 268 |  |  |  | 228 |  |  |  | 226 |  |  |  | 222 |  |  |  | 238 |  |  |  | 250 |  |  |  | 244 |  |  |  | 156 |  |  |  | 242 |  |  |  | 266 |  |  |  | 234 |  |  |  | 236 |  |  |  | 250 |  |  |  | 246 |  |  |  | 296 |  |  | 288 | 260 |  |  | 146 |  |  | 238
31 |  |  | 242 |  |  |  | 274 |  |  |  | 232 |  |  |  | 232 |  |  |  | 214 |  |  |  | 266 |  |  |  | 252 |  |  |  | 248 |  |  |  | 154 |  |  |  | 240 |  |  |  | 276 |  |  |  | 238 |  |  |  | 240 |  |  |  | 250 |  |  |  | 244 |  |  |  | 280 |  |  | 302 | 256 |  |  | 144 |  |  | 234
32 |  |  | 224 |  |  |  | 250 |  |  |  | 226 |  |  |  | 228 |  |  |  | 226 |  |  |  | 230 |  |  |  | 242 |  |  |  | 234 | [7 empty] | 236 |  |  |  | 268 |  |  |  | 222 |  |  |  | 222 |  |  |  | 244 |  |  |  | 238 |  |  |  | 274 |  |  | 278 | 248 | [5 empty] | 234
33 |  |  | 228 |  |  |  | 244 |  |  |  | 226 |  |  |  | 226 |  |  |  | 226 |  |  |  | 224 |  |  |  | 242 |  |  |  | 244 | [7 empty] | 242 |  |  |  | 260 |  |  |  | 226 |  |  |  | 234 |  |  |  | 234 |  |  |  | 242 |  |  |  | 276 |  |  | 282 | 252 | [5 empty] | 230
34 |  |  | 222 |  |  |  | 258 |  |  |  | 214 |  |  |  | 226 |  |  |  | 232 |  |  |  | 234 |  |  |  | 244 |  |  |  | 238 | [7 empty] | 246 |  |  |  | 266 |  |  |  | 232 |  |  |  | 230 |  |  |  | 236 |  |  |  | 244 |  |  |  | 280 |  |  | 282 | 248 | [5 empty] | 222
35 |  |  | 226 |  |  |  | 256 |  |  |  | 216 |  |  |  | 228 |  |  |  | 230 |  |  |  | 230 |  |  |  | 242 |  |  |  | 232 | [7 empty] | 244 |  |  |  | 262 |  |  |  | 224 |  |  |  | 226 |  |  |  | 236 |  |  |  | 244 |  |  |  | 280 |  |  | 274 | 250 | [5 empty] | 224
36 |  |  | 226 |  |  |  | 254 |  |  |  | 222 |  |  |  | 226 |  |  |  | 222 |  |  |  | 228 |  |  |  | 244 |  |  |  | 240 | [7 empty] | 244 |  |  |  | 270 |  |  |  | 232 |  |  |  | 228 |  |  |  | 242 |  |  |  | 242 |  |  |  | 282 |  |  | 274 | 252 | [5 empty] | 228
37 |  |  | 228 |  |  |  | 256 |  |  |  | 222 |  |  |  | 222 |  |  |  | 228 |  |  |  | 234 |  |  |  | 244 |  |  |  | 230 | [7 empty] | 244 |  |  |  | 264 |  |  |  | 228 |  |  |  | 236 |  |  |  | 244 |  |  |  | 238 |  |  |  | 284 |  |  | 268 | 252 | [5 empty] | 232
38 |  |  | 224 |  |  |  | 260 |  |  |  | 224 |  |  |  | 224 |  |  |  | 232 |  |  |  | 240 |  |  |  | 244 |  |  |  | 246 | [7 empty] | 246 |  |  |  | 266 |  |  |  | 232 |  |  |  | 228 |  |  |  | 242 |  |  |  | 236 |  |  |  | 284 |  |  | 270 | 252 | [5 empty] | 228
39 |  |  | 226 |  |  |  | 264 |  |  |  | 208 |  |  |  | 226 |  |  |  | 228 |  |  |  | 240 |  |  |  | 254 |  |  |  | 246 | [7 empty] | 246 |  |  |  | 264 |  |  |  | 230 |  |  |  | 230 |  |  |  | 246 |  |  |  | 246 |  |  |  | 272 |  |  | 284 | 258
40 |  |  | 232 |  |  |  | 256 |  |  |  | 220 |  |  |  | 230 |  |  |  | 226 |  |  |  | 236 |  |  |  | 256 |  |  |  | 234 | [7 empty] | 248 |  |  |  | 268 |  |  |  | 230 |  |  |  | 232 |  |  |  | 246 |  |  |  | 244 |  |  |  | 272 |  |  | 276 | 248
41 |  |  | 232 |  |  |  | 256 |  |  |  | 228 |  |  |  | 224 |  |  |  | 222 |  |  |  | 232 |  |  |  | 238 |  |  |  | 246 | [7 empty] | 242 |  |  |  | 270 |  |  |  | 234 |  |  |  | 228 |  |  |  | 240 |  |  |  | 244 |  |  |  | 272 |  |  | 280 | 250
42 |  |  | 226 |  |  |  | 252 |  |  |  | 220 |  |  |  | 222 |  |  |  | 234 |  |  |  | 228 |  |  |  | 254 |  |  |  | 240 | [7 empty] | 242 |  |  |  | 262 |  |  |  | 228 |  |  |  | 230 |  |  |  | 242 |  |  |  | 244 |  |  |  | 262 |  |  | 280 | 250
43 |  |  | 232 |  |  |  | 248 |  |  |  | 222 |  |  |  | 228 |  |  |  | 230 |  |  |  | 230 |  |  |  | 246 |  |  |  | 248 | [7 empty] | 240 |  |  |  | 272 |  |  |  | 230 |  |  |  | 238 |  |  |  | 242 |  |  |  | 244 |  |  |  | 274 |  |  | 278 | 250
44 |  |  | 230 |  |  |  | 256 |  |  |  | 224 |  |  |  | 220 |  |  |  | 220 |  |  |  | 230 |  |  |  | 232 |  |  |  | 242 | [7 empty] | 238 |  |  |  | 270 |  |  |  | 232 |  |  |  | 232 |  |  |  | 240 |  |  |  | 248 |  |  |  | 266 |  |  | 282 | 248
45 |  |  | 228 |  |  |  | 250 |  |  |  | 224 |  |  |  | 222 |  |  |  | 226 |  |  |  | 228 |  |  |  | 252 |  |  |  | 240 | [7 empty] | 238 |  |  |  | 266 |  |  |  | 234 |  |  |  | 228 |  |  |  | 236 |  |  |  | 248 |  |  |  | 268 |  |  | 298 | 242
46 |  |  | 228 |  |  |  | 252 |  |  |  | 224 |  |  |  | 226 |  |  |  | 228 |  |  |  | 238 |  |  |  | 238 |  |  |  | 246 | [7 empty] | 242 |  |  |  | 274 |  |  |  | 230 |  |  |  | 228 |  |  |  | 236 |  |  |  | 244 |  |  |  | 278 |  |  | 274 | 256 | [5 empty] | 234
47 |  |  | 230 |  |  |  | 246 |  |  |  | 228 |  |  |  | 222 |  |  |  | 228 |  |  |  | 226 |  |  |  | 248 |  |  |  | 236 | [7 empty] | 238 |  |  |  | 272 |  |  |  | 230 |  |  |  | 226 |  |  |  | 238 |  |  |  | 242 |  |  |  | 268 |  |  | 270 | 248 | [5 empty] | 230
48 |  |  | 224 |  |  |  | 256 |  |  |  | 222 |  |  |  | 220 |  |  |  | 228 |  |  |  | 236 |  |  |  | 248 |  |  |  | 246 | [7 empty] | 234 |  |  |  | 266 |  |  |  | 224 |  |  |  | 234 |  |  |  | 246 |  |  |  | 244 |  |  |  | 270 |  |  | 274 | 248 | [5 empty] | 234
49 |  |  | 232 |  |  |  | 256 |  |  |  | 224 |  |  |  | 222 |  |  |  | 218 |  |  |  | 230 |  |  |  | 240 |  |  |  | 248 | [7 empty] | 238 |  |  |  | 268 |  |  |  | 238 |  |  |  | 230 |  |  |  | 236 |  |  |  | 238 |  |  |  | 276 |  |  | 274 | 246 | [5 empty] | 226
50 |  |  | 226 |  |  |  | 252 |  |  |  | 228 |  |  |  | 230 |  |  |  | 228 |  |  |  | 232 |  |  |  | 246 |  |  |  | 250 | [7 empty] | 246 |  |  |  | 268 |  |  |  | 230 |  |  |  | 234 |  |  |  | 242 |  |  |  | 242 |  |  |  | 262 |  |  | 272 | 252 | [5 empty] | 230
51 |  |  | 224 |  |  |  | 252 |  |  |  | 230 |  |  |  | 230 |  |  |  | 228 |  |  |  | 226 |  |  |  | 250 |  |  |  | 244 | [7 empty] | 242 |  |  |  | 276 |  |  |  | 230 |  |  |  | 230 |  |  |  | 238 |  |  |  | 240 |  |  |  | 262 |  |  | 280 | 252 | [5 empty] | 232
52 |  |  | 226 |  |  |  | 248 |  |  |  | 224 |  |  |  | 224 |  |  |  | 214 |  |  |  | 234 |  |  |  | 244 |  |  |  | 238 | [7 empty] | 238 |  |  |  | 280 |  |  |  | 230 |  |  |  | 228 |  |  |  | 248 |  |  |  | 240 |  |  |  | 264 |  |  | 260 | 250 | [5 empty] | 228
53 |  |  | 230 |  |  |  | 242 |  |  |  | 230 |  |  |  | 226 |  |  |  | 226 |  |  |  | 244 |  |  |  | 242 |  |  |  | 234 | [7 empty] | 242 |  |  |  | 274 |  |  |  | 230 |  |  |  | 228 |  |  |  | 252 |  |  |  | 246 |  |  |  | 266 |  |  | 268 | 250
54 |  |  | 230 |  |  |  | 244 |  |  |  | 236 |  |  |  | 230 |  |  |  | 222 |  |  |  | 228 |  |  |  | 234 |  |  |  | 244 | [7 empty] | 238 |  |  |  | 268 |  |  |  | 228 |  |  |  | 234 |  |  |  | 240 |  |  |  | 238 |  |  |  | 266 |  |  | 298 | 258
55 |  |  | 222 |  |  |  | 252 |  |  |  | 226 |  |  |  | 224 |  |  |  | 224 |  |  |  | 228 |  |  |  | 238 |  |  |  | 240 | [7 empty] | 238 |  |  |  | 268 |  |  |  | 230 |  |  |  | 234 |  |  |  | 248 |  |  |  | 238 |  |  |  | 264 |  |  | 272 | 248
56 |  |  | 222 |  |  |  | 250 |  |  |  | 220 |  |  |  | 228 |  |  |  | 226 |  |  |  | 240 |  |  |  | 240 |  |  |  | 240 | [7 empty] | 234 |  |  |  | 270 |  |  |  | 226 |  |  |  | 234 |  |  |  | 250 |  |  |  | 240 |  |  |  | 264 |  |  | 276 | 246 | [5 empty] | 224
57 |  |  | 234 |  |  |  | 240 |  |  |  | 228 |  |  |  | 236 |  |  |  | 238 |  |  |  | 240 |  |  |  | 240 |  |  |  | 242 | [7 empty] | 236 |  |  |  | 276 |  |  |  | 226 |  |  |  | 234 |  |  |  | 242 |  |  |  | 244 |  |  |  | 264 |  |  | 296 | 246 | [5 empty] | 224
58 |  |  | 234 |  |  |  | 242 |  |  |  | 232 |  |  |  | 238 |  |  |  | 228 |  |  |  | 234 |  |  |  | 242 |  |  |  | 238 | [7 empty] | 232 |  |  |  | 280 |  |  |  | 232 |  |  |  | 230 |  |  |  | 242 |  |  |  | 244 |  |  |  | 260 |  |  | 276 | 246 | [5 empty] | 222
59 |  |  | 222 |  |  |  | 240 |  |  |  | 226 |  |  |  | 232 |  |  |  | 226 |  |  |  | 236 |  |  |  | 240 |  |  |  | 232 | [7 empty] | 236 |  |  |  | 274 |  |  |  | 232 |  |  |  | 230 |  |  |  | 238 |  |  |  | 240 |  |  |  | 252 |  |  | 268 | 254 | [5 empty] | 220
60 |  |  | 224 |  |  |  | 240 |  |  |  | 226 |  |  |  | 236 |  |  |  | 226 |  |  |  | 223 |  |  |  | 248 |  |  |  | 240 | [7 empty] | 236 |  |  |  | 280 |  |  |  | 226 |  |  |  | 232 |  |  |  | 254 |  |  |  | 242 |  |  |  | 250 |  |  | 266 | 248 | [5 empty] | 226
61 |  |  | 226 |  |  |  | 246 |  |  |  | 228 |  |  |  | 236 |  |  |  | 228 |  |  |  | 226 |  |  |  | 238 |  |  |  | 242 | [7 empty] | 238 |  |  |  | 288 |  |  |  | 228 |  |  |  | 230 |  |  |  | 240 |  |  |  | 244 |  |  |  | 254 |  |  | 268 | 246 | [5 empty] | 220
62 |  |  | 228 |  |  |  | 252 |  |  |  | 236 |  |  |  | 234 |  |  |  | 222 |  |  |  | 226 |  |  |  | 244 |  |  |  | 230 | [7 empty] | 234 |  |  |  | 286 |  |  |  | 232 |  |  |  | 236 |  |  |  | 248 |  |  |  | 244 |  |  |  | 252 |  |  | 262 | 252 | [5 empty] | 228
63 |  |  | 84 |  |  |  | 114 |  |  |  | 76 |  |  |  | 66 |  |  |  | 36 |  |  |  | 64 |  |  |  | 58 |  |  |  | 48 | [7 empty] | 48 |  |  |  | 72 |  |  |  | 56 |  |  |  | 68 |  |  |  | 68 |  |  |  | 72 |  |  |  | 92 |  |  | 82 | 74
Panel | A__L | A__U | B_027_L | B_027_U | A_019_L | A_019_U | B_052_L | B_052_U | A__L | A__U | B_100_L | B_100_U | A__L | A__U | B_114_L | B_114_U | A__L | A__U | B_033_L | B_033_U | A__L | A__U | B__L | B__U | A__L | A__U | B_101_L | B_101_U | A__L | A__U | B__L | B__U | A__L | A__U | B_025_L | B_025_U | A__L | A__U | B_047_L | B_047_U | A__L | A__U | B_094_L | B_094_U | A__L | A__U | B_040_L | B_040_U | A__L | A__U | B_035_L | B_035_U | A__L | A__U | B_012_L | B_012_U | A__L | A__U | B_055_L | B_055_U | A__L | A__U | B_020_L | B_020_U | B_S1U005_L | B_S1U005_U | B_S1L010_L | B_S1L010_U | A_S3L020_L | A_S3L020_U | B__L | B__U
Mean | #DIV/0! | #DIV/0! | 233.7143 | #DIV/0! | #DIV/0! | #DIV/0! | 254.7302 | #DIV/0! | #DIV/0! | #DIV/0! | 229.1111 | #DIV/0! | #DIV/0! | #DIV/0! | 230.0317 | #DIV/0! | #DIV/0! | #DIV/0! | 229.9048 | #DIV/0! | #DIV/0! | #DIV/0! | 239.4444 | #DIV/0! | #DIV/0! | #DIV/0! | 251.3651 | #DIV/0! | #DIV/0! | #DIV/0! | 244.0635 | #DIV/0! | #DIV/0! | #DIV/0! | 152.125 | #DIV/0! | #DIV/0! | #DIV/0! | 241.746 | #DIV/0! | #DIV/0! | #DIV/0! | 275.0794 | #DIV/0! | #DIV/0! | #DIV/0! | 233.746 | #DIV/0! | #DIV/0! | #DIV/0! | 234.3175 | #DIV/0! | #DIV/0! | #DIV/0! | 243.9688 | #DIV/0! | #DIV/0! | #DIV/0! | 245.7419 | #DIV/0! | #DIV/0! | #DIV/0! | 280.1587 | #DIV/0! | #DIV/0! | 280.4127 | 254.9355 | #DIV/0! | #DIV/0! | 147.1875 | #DIV/0! | #DIV/0!
s | #DIV/0! | #DIV/0! | 7.2811 | #DIV/0! | #DIV/0! | #DIV/0! | 7.3905 | #DIV/0! | #DIV/0! | #DIV/0! | 6.8134 | #DIV/0! | #DIV/0! | #DIV/0! | 5.1618 | #DIV/0! | #DIV/0! | #DIV/0! | 6.0261 | #DIV/0! | #DIV/0! | #DIV/0! | 9.7398 | #DIV/0! | #DIV/0! | #DIV/0! | 9.8951 | #DIV/0! | #DIV/0! | #DIV/0! | 6.4655 | #DIV/0! | #DIV/0! | #DIV/0! | 2.5872 | #DIV/0! | #DIV/0! | #DIV/0! | 4.1034 | #DIV/0! | #DIV/0! | #DIV/0! | 9.3383 | #DIV/0! | #DIV/0! | #DIV/0! | 5.4179 | #DIV/0! | #DIV/0! | #DIV/0! | 5.0826 | #DIV/0! | #DIV/0! | #DIV/0! | 23.9351 | #DIV/0! | #DIV/0! | #DIV/0! | 6.5234 | #DIV/0! | #DIV/0! | #DIV/0! | 14.3248 | #DIV/0! | #DIV/0! | 10.3497 | 6.1321 | #DIV/0! | #DIV/0! | 2.3201 | #DIV/0! | #DIV/0!
Max | 0 | 0 | 246 | 0 | 0 | 0 | 274 | 0 | 0 | 0 | 242 | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 242 | 0 | 0 | 0 | 266 | 0 | 0 | 0 | 272 | 0 | 0 | 0 | 256 | 0 | 0 | 0 | 158 | 0 | 0 | 0 | 252 | 0 | 0 | 0 | 308 | 0 | 0 | 0 | 246 | 0 | 0 | 0 | 244 | 0 | 0 | 0 | 272 | 0 | 0 | 0 | 270 | 0 | 0 | 0 | 304 | 0 | 0 | 302 | 266 | 0 | 0 | 152 | 0 | 0
Min | 0 | 0 | 222 | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 208 | 0 | 0 | 0 | 220 | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 223 | 0 | 0 | 0 | 232 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 148 | 0 | 0 | 0 | 232 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 222 | 0 | 0 | 0 | 222 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 236 | 0 | 0 | 0 | 250 | 0 | 0 | 260 | 242 | 0 | 0 | 142 | 0 | 0
Module | M004 |  |  |  | M155 |  |  |  | M012 |  |  |  | M013 |  |  |  | M014 |  |  |  | M159 |  |  |  | M_016 |  |  |  | S1 M046 |  |  |  | S3 M107 |  |  |  | M153 |  |  |  | M011 |  |  |  | M006 |  |  |  | M008 |  |  |  | M009 |  |  |  | M010 |  |  |  | M154 |  |  |  | W005 |  |  |  | W105
[9 empty] | 320 | 0 | 0
[9 empty] | 316 | 0 | 0
[9 empty] | 312 | 0 | 0
[9 empty] | 308 | 1 | 0
[9 empty] | 304 | 4 | 0
[9 empty] | 300 | 14 | 0
[9 empty] | 296 | 7 | 0
[9 empty] | 292 | 11 | 0
[9 empty] | 288 | 13 | 0
[9 empty] | 284 | 19 | 0
| Source Profile Test | [7 empty] | 280 | 31 | 0
Nch | Amp. (mV) | Freq.(Hz) | [6 empty] | 276 | 22 | 1
7 | 238 | 5 | [6 empty] | 272 | 30 | 3
8 | 252 | 15 | [6 empty] | 268 | 40 | 11
9 | 264 | 35 | [6 empty] | 264 | 36 | 12
10 | 264 | 65 | [6 empty] | 260 | 41 | 17
11 | 256 | 120 | [6 empty] | 256 | 46 | 25
12 | 264 | 180 | [6 empty] | 252 | 63 | 27
13 | 248 | 255 | [6 empty] | 248 | 97 | 22
14 | 258 | 310 | [6 empty] | 244 | 125 | 39
15 | 248 | 320 | [6 empty] | 240 | 124 | 49
16 | 254 | 280 | [6 empty] | 236 | 108 | 58
17 | 262 | 220 | [6 empty] | 232 | 100 | 59
18 | 254 | 140 | [6 empty] | 228 | 85 | 68
19 | 260 | 80 | [6 empty] | 224 | 42 | 38
20 | 252 | 40 | [6 empty] | 220 | 7 | 7
21 | 248 | 15 | [6 empty] | 216 | 4 | 4
22 | 252 | 5 | [6 empty] | 212 | 0 | 0
[9 empty] | 208 | 1 | 1
[9 empty] | 204 | 0 | 0
[9 empty] | 200 | 0 | 0
196
Note on C100: Yuri & Fabian: Source = Fe55 Flushing = about 80 hours HV = 1520 V Ar:CO2 = 70:30 Trigger = -40mV on slope Amp. = average pulse dept over 128 pulses Freq. = Estimate over 50 seconds
Note on U73: Iuri Bagaturia: Trsh=-12 mV
Note on AK9: Sebastin Bachmann: HV= 1490 V
Note on CA8: Iuri Bagaturia: Without Gas - 2 days.